## Settings
Field | Value (Sample)
Portfolio Name | US Flagship Office & Mixed-Use
Currency | USD
Energy Units | kBtu; kWh; Therms
Emissions Factor Source | EPA eGRID (regional); Utility-specific where available
Reporting Frameworks | ENERGY STAR; GRESB; LEED O+M; WELL; CDP
BPS Jurisdictions in Portfolio | NYC LL97; Boston BERDO; DC BEPS; Denver; Seattle
IAQ Targets | CO₂ ≤ 900 ppm avg; PM2.5 ≤ 9 µg/m³ annual context
Scorecard Weighting | Energy 35%, Carbon 35%, Water 10%, Waste 10%, IAQ 10%
Evidence Repository | SharePoint/Drive link
Portfolio Manager Account ID | PM-REIT-2025
Default Region for eGRID | RFC East; WECC as applicable
Utility Data Refresh Cadence | Monthly
Water Meter Read Cadence | Monthly
Waste Hauler Reporting | Monthly diversion reports
Certification Strategy | ENERGY STAR annually; LEED O+M for top 20% assets
Renewable Strategy | 30% by 2027 (onsite + RECs/PPA)
Commissioning Policy | Retro-Cx every 3 years; post-works verification
Supplier ESG Threshold | Score ≥70/100
Incident Reporting SLA | 48 hours for IAQ exceedances
Data QA Owner | ESG Analytics Manager
Powered by Retyn
Ready to make your real estate portfolio ESG-ready?
Visit www.retyn.ai to learn more.

## Portfolio_Overview
Asset ID | Asset Name | Property Type | City | State | GFA (ft²) | Year Built | Occupancy % | ENERGY STAR Eligible? | Baseline Year | Target Year | GRESB Entity ID
A001 | One Market Plaza | Office | San Francisco | CA | 820000 | 1987 | 92 | Yes | 2022 | 2026 | RE-US-001
A002 | Hudson Point | Multifamily | New York | NY | 410000 | 2009 | 95 | Yes | 2022 | 2027 | RE-US-001
A003 | Beacon Tower | Office | Boston | MA | 560000 | 1998 | 88 | Yes | 2021 | 2026 | RE-US-001
A004 | Capitol Center | Mixed-Use | Washington | DC | 690000 | 2003 | 90 | Yes | 2021 | 2027 | RE-US-001
A005 | Desert Commons | Office | Phoenix | AZ | 350000 | 2015 | 85 | Yes | 2023 | 2027 | RE-US-001
A006 | Lakeside Mall | Retail | Chicago | IL | 720000 | 1995 | 86 | No | 2022 | 2026 | RE-US-001
A007 | South Park Lofts | Multifamily | Los Angeles | CA | 310000 | 2018 | 94 | Yes | 2022 | 2027 | RE-US-001
A008 | Riverfront HQ | Office | Denver | CO | 480000 | 2001 | 89 | Yes | 2022 | 2026 | RE-US-001
A009 | Harbor Labs | Life Sci | Cambridge | MA | 430000 | 2012 | 91 | No | 2023 | 2028 | RE-US-001
A010 | Seaport Exchange | Office | Boston | MA | 920000 | 2020 | 93 | Yes | 2023 | 2026 | RE-US-001
A011 | Uptown Square | Multifamily | Dallas | TX | 370000 | 2014 | 96 | Yes | 2021 | 2026 | RE-US-001
A012 | Midtown Galleria | Retail | Atlanta | GA | 540000 | 2006 | 87 | No | 2022 | 2026 | RE-US-001
A013 | Bayview Center | Office | Miami | FL | 450000 | 2005 | 91 | Yes | 2022 | 2026 | RE-US-001
A014 | Skyline Residences | Multifamily | Seattle | WA | 300000 | 2017 | 97 | Yes | 2022 | 2027 | RE-US-001
A015 | Tech Park North | Office | Austin | TX | 600000 | 2010 | 88 | Yes | 2023 | 2027 | RE-US-001
A016 | Union Yards | Multifamily | Philadelphia | PA | 340000 | 2013 | 92 | Yes | 2021 | 2026 | RE-US-001
A017 | Redwood Plaza | Office | San Jose | CA | 520000 | 2002 | 90 | Yes | 2022 | 2026 | RE-US-001
A018 | Millennium Tower | Office | Minneapolis | MN | 410000 | 1999 | 86 | Yes | 2022 | 2026 | RE-US-001
A019 | Capital Wharf | Office | Washington | DC | 380000 | 2008 | 93 | Yes | 2022 | 2026 | RE-US-001
A020 | Pearl District Commons | Mixed-Use | Portland | OR | 420000 | 2011 | 89 | Yes | 2021 | 2026 | RE-US-001
GFA | Gross Floor Area
GRESB | Global Real Estate Sustainability Benchmark

## Energy_Performance
Asset ID | Year | Site EUI (kBtu/ft²/yr) | Source EUI (kBtu/ft²/yr) | Electricity (kWh) | Gas (therms) | % RE (onsite + procured) | ENERGY STAR Score | Target EUI | Status | Flag | ENERGY STAR Eligible?
A001 | 2024 | 69 | 143 | 21400000 | 210000 | 18% | 77 | 92 | On Track | OK | Yes
A002 | 2024 | 46 | 95 | 9200000 | 65000 | 12% | 81 | 93 | On Track | OK | Yes
A003 | 2024 | 78 | 159 | 17800000 | 280000 | 10% | 68 | 66 | Off Track | ⚠ Raise score ≥75 | Yes
A004 | 2024 | 63 | 131 | 14900000 | 190000 | 22% | 74 | 76 | Borderline | ⚠ Raise score ≥75 | Yes
A005 | 2024 | 58 | 120 | 10400000 | 120000 | 15% | 79 | 91 | On Track | OK | Yes
A006 | 2024 | 82 | 171 | 24600000 | 360000 | 6% | 62 | 92 | Off Track | OK | No
A007 | 2024 | 44 | 92 | 6900000 | 52000 | 14% | 83 | 93 | On Track | OK | Yes
A008 | 2024 | 61 | 126 | 12600000 | 150000 | 11% | 76 | 57 | On Track | OK | Yes
A009 | 2024 | 94 | 199 | 22100000 | 420000 | 8% | 55 | 88 | Off Track | OK | No
A010 | 2024 | 52 | 112 | 16800000 | 110000 | 28% | 86 | 89 | On Track | OK | Yes
A011 | 2024 | 43 | 89 | 5600000 | 40000 | 9% | 82 | 90 | On Track | OK | Yes
A012 | 2024 | 79 | 164 | 18900000 | 300000 | 5% | 64 | 91 | Off Track | OK | No
A013 | 2024 | 57 | 118 | 11200000 | 105000 | 19% | 79 | 92 | On Track | OK | Yes
A014 | 2024 | 45 | 91 | 6400000 | 50000 | 23% | 85 | 93 | On Track | OK | Yes
A015 | 2024 | 66 | 137 | 15600000 | 170000 | 16% | 74 | 60 | Borderline | ⚠ Raise score ≥75 | Yes
A016 | 2024 | 48 | 100 | 7200000 | 60000 | 18% | 80 | 45 | On Track | OK | Yes
A017 | 2024 | 60 | 125 | 13400000 | 140000 | 20% | 78 | 56 | On Track | OK | Yes
A018 | 2024 | 64 | 132 | 12100000 | 160000 | 12% | 73 | 58 | Borderline | ⚠ Raise score ≥75 | Yes
A019 | 2024 | 59 | 123 | 11000000 | 120000 | 17% | 77 | 55 | On Track | OK | Yes
A020 | 2024 | 62 | 129 | 12200000 | 150000 | 21% | 75 | 58 | Off Track | OK | No
EUI | Energy Use Intensity

## Carbon_Accounting
Asset ID | Year | Scope 1 (mtCO₂e) | Scope 2 (mtCO₂e, location-based) | Scope 2 (market-based) | Scope 1+2 (mtCO₂e) | Intensity (kgCO₂e/ft²) | Renewable (MWh) | Emissions Limit (if BPS) | BPS Risk Flag
A001 | 2024 | 1950 | 6480 | 5200 | 7150 | 8.72 | 3900 | — | OK
A002 | 2024 | 900 | 3200 | 2800 | 3700 | 9.02 | 1800 | — | OK
A003 | 2024 | 2900 | 7900 | 6900 | 9800 | 17.5 | 1200 | Boston BERDO cap | ⚠ Near cap
A004 | 2024 | 2200 | 5900 | 5200 | 7400 | 10.72 | 2800 | DC BEPS EUI std | ⚠ Improve EUI
A005 | 2024 | 1200 | 4100 | 3600 | 4800 | 13.71 | 1600 | — | OK
A006 | 2024 | 3300 | 8600 | 8000 | 11900 | 16.53 | 700 | — | 🔴 High
A007 | 2024 | 700 | 2500 | 2100 | 2800 | 9.03 | 900 | Boston BERDO cap | OK
A008 | 2024 | 1600 | 5200 | 4700 | 6300 | 13.13 | 1400 | DC BEPS EUI std | OK
A009 | 2024 | 4600 | 9700 | 9100 | 13700 | 31.86 | 900 | — | 🔴 Labs high
A010 | 2024 | 1300 | 4900 | 3200 | 4500 | 4.89 | 5600 | — | OK
A011 | 2024 | 600 | 2100 | 1800 | 2400 | 6.49 | 600 | — | OK
A012 | 2024 | 3200 | 8600 | 7900 | 11100 | 20.56 | 700 | — | 🔴
A013 | 2024 | 1100 | 3600 | 3000 | 4100 | 9.11 | 1500 | Boston BERDO cap | OK
A014 | 2024 | 650 | 2000 | 1700 | 2350 | 7.83 | 1200 | DC BEPS EUI std | OK
A015 | 2024 | 1800 | 5600 | 5000 | 6800 | 11.33 | 1700 | — | ⚠ Trending up
A016 | 2024 | 800 | 2500 | 2200 | 3000 | 8.82 | 1100 | — | OK
A017 | 2024 | 1500 | 4700 | 4200 | 5700 | 10.96 | 2000 | Boston BERDO cap | OK
A018 | 2024 | 1700 | 5100 | 4500 | 6800 | 16.59 | 1300 | DC BEPS EUI std | ⚠
A019 | 2024 | 1400 | 4300 | 3800 | 5200 | 13.68 | 1600 | — | OK
A020 | 2024 | 1600 | 4800 | 4200 | 5800 | 13.81 | 1900 | — | OK

## Water_Use
Asset ID | Year | Total Water (kgal) | Intensity (gal/ft²) | Cooling Tower % | WaterSense Fixtures? | Leak Detection | Target Intensity | Status
A001 | 2024 | 26000 | 31.7 | 46 | Yes | Online | 28 | Off Track
A002 | 2024 | 15800 | 38.5 | 22 | Yes | Quarterly | 34 | Off Track
A003 | 2024 | 22900 | 40.9 | 41 | Partial | Monthly | 36 | Off Track
A004 | 2024 | 18100 | 26.2 | 35 | Yes | Online | 25 | Borderline
A005 | 2024 | 11900 | 34 | 18 | Yes | Online | 32 | On Track
A006 | 2024 | 24800 | 37.5 | 39 | Yes | Monthly | 33 | Off Track
A007 | 2024 | 9600 | 31 | 12 | Yes | Quarterly | 30 | Borderline
A008 | 2024 | 13400 | 27.9 | 29 | Yes | Online | 27 | Borderline
A009 | 2024 | 17600 | 39.8 | 26 | Partial | Monthly | 35 | Off Track
A010 | 2024 | 16700 | 18.2 | 33 | Yes | Online | 18 | On Track
A011 | 2024 | 8400 | 22.7 | 9 | Yes | Quarterly | 22 | On Track
A012 | 2024 | 20600 | 38.1 | 38 | Partial | Monthly | 33 | Off Track
A013 | 2024 | 14200 | 31.6 | 21 | Yes | Online | 29 | Borderline
A014 | 2024 | 7800 | 26 | 8 | Yes | Quarterly | 25 | Borderline
A015 | 2024 | 15600 | 28.9 | 24 | Yes | Online | 27 | Borderline
A016 | 2024 | 9200 | 27.1 | 10 | Yes | Quarterly | 26 | Borderline
A017 | 2024 | 13800 | 29.5 | 20 | Yes | Online | 27 | Borderline
A018 | 2024 | 12400 | 30.2 | 17 | Yes | Online | 28 | Borderline
A019 | 2024 | 11800 | 31.1 | 15 | Yes | Quarterly | 29 | Off Track
A020 | 2024 | 13300 | 30.8 | 19 | Yes | Online | 28 | Off Track

## IAQ_Health_Safety
Asset ID | Quarter | Avg CO₂ (ppm) | Max CO₂ (ppm) | PM2.5 (µg/m³) | Ventilation Verified (62.1) | Filters | Notes | IAQ Flag
A001 | 2025-Q2 | 720 | 1020 | 7.8 | Yes | MERV-13 | Good | OK
A002 | 2025-Q2 | 830 | 1180 | 8.5 | Yes | MERV-13 | Slight peak evenings | OK
A003 | 2025-Q2 | 960 | 1380 | 10.4 | Yes | MERV-13 | Conf rooms high | ⚠ Improve scheduling
A004 | 2025-Q2 | 810 | 1050 | 8.1 | Yes | MERV-14 | Good | OK
A005 | 2025-Q2 | 780 | 1010 | 7.6 | Yes | MERV-13 | Good | OK
A006 | 2025-Q2 | 1120 | 1650 | 13.2 | Partial | MERV-11 | Increase OA | 🔴 Action
A007 | 2025-Q2 | 740 | 980 | 7.2 | Yes | MERV-13 | Good | OK
A008 | 2025-Q2 | 820 | 1100 | 8.8 | Yes | MERV-13 | Check lobby | OK
A009 | 2025-Q2 | 890 | 1240 | 9.6 | Yes | MERV-14 | Labs loading peaks | ⚠ Monitor
A010 | 2025-Q2 | 690 | 920 | 6.3 | Yes | MERV-14 | Good | OK
A011 | 2025-Q2 | 760 | 1040 | 7.9 | Yes | MERV-13 | Good | OK
A012 | 2025-Q2 | 980 | 1400 | 10.9 | Partial | MERV-11 | Loading dock PM | ⚠ Check IAQ
A013 | 2025-Q2 | 800 | 1120 | 8 | Yes | MERV-13 | Good | OK
A014 | 2025-Q2 | 730 | 990 | 7.1 | Yes | MERV-13 | Good | OK
A015 | 2025-Q2 | 860 | 1210 | 8.7 | Yes | MERV-13 | Good | OK
A016 | 2025-Q2 | 790 | 1090 | 8.2 | Yes | MERV-13 | Good | OK
A017 | 2025-Q2 | 880 | 1260 | 9.1 | Yes | MERV-13 | Good | OK
A018 | 2025-Q2 | 920 | 1310 | 9.4 | Yes | MERV-13 | Afternoon peaks | ⚠ Monitor
A019 | 2025-Q2 | 810 | 1130 | 8.3 | Yes | MERV-13 | Good | OK
A020 | 2025-Q2 | 770 | 1080 | 7.7 | Yes | MERV-13 | Good | OK

## Certifications
Asset ID | Scheme | Version | Status | Level/Score | Anticipated Award | Evidence Link
A001 | ENERGY STAR | — | Awarded 2024 | Score 77 | 2025 renewal | Link
A002 | ENERGY STAR | — | Awarded 2024 | Score 81 | 2025 renewal | Link
A003 | LEED O+M | v4.1 | In Progress | Target Gold | Q4-2025 | Link
A004 | WELL | v2 | In Progress | Target Bronze | Q1-2026 | Link
A005 | ENERGY STAR | — | Awarded 2024 | Score 79 | 2025 renewal | Link
A006 | — | — | Planned | — | 2026 | Link
A007 | ENERGY STAR | — | Awarded 2024 | Score 83 | 2025 renewal | Link
A008 | ENERGY STAR | — | Awarded 2024 | Score 76 | 2025 renewal | Link
A009 | LEED O+M | v4.1 | Planned | Target Silver | 2026 | Link
A010 | LEED BD+C | v4.1 | Awarded | Platinum | 2020 | Link
A011 | ENERGY STAR | — | Awarded 2024 | Score 82 | 2025 renewal | Link
A012 | — | — | Planned | — | 2026 | Link
A013 | ENERGY STAR | — | Awarded 2024 | Score 79 | 2025 renewal | Link
A014 | ENERGY STAR | — | Awarded 2024 | Score 85 | 2025 renewal | Link
A015 | ENERGY STAR | — | In Progress | Aim ≥75 | Q4-2025 | Link
A016 | ENERGY STAR | — | Awarded 2024 | Score 80 | 2025 renewal | Link
A017 | ENERGY STAR | — | Awarded 2024 | Score 78 | 2025 renewal | Link
A018 | ENERGY STAR | — | In Progress | Aim ≥75 | Q4-2025 | Link
A019 | ENERGY STAR | — | Awarded 2024 | Score 77 | 2025 renewal | Link
A020 | LEED O+M | v4.1 | In Progress | Target Silver | Q2-2026 | Link

## GRESB_Alignment
Indicator | Requirement Summary | Evidence Type | Asset/ Portfolio | Evidence Provided? | Owner | Flag
GOV-1 | ESG policy & oversight | Board charter; policy | Portfolio | Yes | Corp Sec | OK
PER-1 | Energy consumption like-for-like | Export + methodology | Portfolio | Yes | ESG | OK
PER-2 | Water consumption like-for-like | Export + methodology | Portfolio | Yes | ESG | OK
WAS-1 | Waste tracking & targets | Hauler reports; policy | Portfolio | Partial | Ops | ⚠ Complete
GHG-1 | Scope 1 & 2 inventory | Emissions calc workbook | Portfolio | Yes | ESG | OK
REN-1 | On/Offsite renewable evidence | PPA/REC contracts | Portfolio | Partial | Legal | ⚠ Docs
CERT-Op | Operational certifications | Certificates + dates | Asset | Yes | PM | OK
DEV-1 | New dev design standards | Specs; Cx reports | Asset | No | Dev | 🔴 Missing
H&S-1 | Health & safety program | SOP; training logs | Portfolio | Yes | H&S | OK
RISK-1 | Climate risk screening | TCFD risk memo | Portfolio | Partial | Risk | ⚠ Update
TEN-1 | Tenant engagement | Comms; green lease | Asset | Partial | PM | ⚠
AUD-1 | Data assurance | 3rd-party assurance | Portfolio | No | Finance | 🔴 Missing
GOV-2 | Anti-corruption policy | Policy; training | Portfolio | Yes | HR | OK
STK-1 | Stakeholder engagement | Survey; results | Portfolio | Partial | ESG | ⚠
WAT-2 | Water reduction plan | Audit; targets | Asset | Yes | Eng | OK
ENE-2 | Energy reduction plan | Audit; targets | Asset | Yes | Eng | OK
GHG-2 | Net-zero pathway | Roadmap; MACC | Portfolio | Partial | ESG | ⚠ Draft
RES-1 | Resilience plan | Scenario analysis | Portfolio | No | Risk | 🔴
SOC-1 | Community programs | Records; spend | Portfolio | Yes | CSR | OK
DISC-1 | Public ESG report | PDF; web link | Portfolio | Planned | Comms | ⚠ Draft

## BPS_Tracker
City/Program | Coverage Threshold | Metric | First Compliance | Notes | Risk Flag Rule
NYC LL97 | ≥25k ft² | Emissions cap (kgCO₂e/ft²) | 2024 start; tighter 2030 | Annual fines if over cap | Flag if Intensity > cap
Boston BERDO 2.0 | ≥20k–35k ft² (phased) | Emissions cap | 2025/2030 phased | Net-zero by 2050 | Over cap
DC BEPS | ≥10k–50k ft² | ENERGY STAR/EUI | Periods by size | Meet standard or plan | Below std
Denver (Energize Denver) | ≥25k ft² | EUI targets | 2024–2030 | Long-term glidepath | Above target
Seattle BEPS | ≥20k ft² | Emissions cap | 2027–2031 | Phased by size | Over cap
St. Louis BEPS | ≥50k ft² | EUI percentile | 2025+ | By property type | Below percentile
Montgomery County, MD BEPS | ≥25k ft² | EUI | 2024–2033 | County-level | Above target
Philadelphia BEPP (tune-ups) | ≥50k ft² | O&M tune-up | 2025+ | Periodic tune-ups | Past due
Chula Vista, CA | ≥50k ft² | Benchmarking | Current | Disclosure | Missing data
Chicago Energy Rating | ≥50k ft² | Score disclosure | Current | Star rating | Missing label
San José Energy & Water | ≥20k ft² | Benchmarking | Current | Annual report | Missing data
Los Angeles (proposed) | ≥20k–50k ft² | Emissions | TBD | Watch updates | Watchlist
San Francisco (benchmark) | ≥50k ft² | Benchmarking | Current | Disclosure | Missing data
Oregon (state) | Commercial | EUI/Emissions | TBD | Program evolves | Watchlist
Colorado (state) | ≥50k ft² | Emissions | 2026+ | State program | Over cap
Washington State Clean Buildings | ≥50k ft² | EUI target | Active | Building tune-ups | Above target
Minneapolis | ≥50k ft² | Benchmarking | Current | Disclosure | Missing data
Austin Energy Rating | ≥10k ft² | Benchmarking | Current | Local rating | Missing data
San Diego | ≥50k ft² | Benchmarking | Current | Disclosure | Missing data
Portland, OR | ≥20k–50k ft² | Emissions/EUI | 2026+ | Policy in progress | Watchlist
BPS | Building Performance Standards

## Capex_Roadmap
Asset ID | Measure | Capex (USD) | Saved kWh/yr | Saved Therms/yr | GHG Saved (mtCO₂e/yr) | Simple Payback (yrs) | IRR % | BPS Fine Avoided? | Priority
A003 | Retro-Cx + VAV reset | 240000 | 1200000 | 18000 | 520 | 2.6 | 31 | Likely | High
A006 | Chiller replacement | 1200000 | 2800000 | 30000 | 1050 | 5.2 | 18 | Yes | High
A009 | Lab hood VAV & setbacks | 450000 | 900000 | 22000 | 430 | 3.8 | 22 | — | Medium
A012 | Envelope sealing + BAS | 180000 | 620000 | 8000 | 210 | 3.1 | 27 | — | Medium
A015 | LED + controls | 320000 | 980000 | 0 | 290 | 1.9 | 44 | — | High
A018 | Boiler plant optimization | 260000 | 300000 | 26000 | 410 | 3.4 | 24 | — | Medium
A020 | Heat pump retrofit (partial) | 900000 | 1400000 | 18000 | 520 | 6 | 16 | Possible | Medium
A004 | Cooling tower VFDs | 210000 | 480000 | 6000 | 150 | 2.8 | 29 | — | High
A010 | Roof PV (1.2 MW) | 1600000 | 1600000 | 0 | 700 | 7.5 | 13 | — | Medium
A001 | AHU fan arrays | 300000 | 750000 | 7000 | 220 | 2.7 | 30 | — | High
A002 | Low-flow retrofit | 150000 | 120000 | 0 | 40 | 3.8 | 19 | — | Medium
A005 | Demand control ventilation | 220000 | 520000 | 6000 | 160 | 3.3 | 23 | — | Medium
A007 | Heat pump water heaters | 180000 | 210000 | 9000 | 120 | 3.6 | 21 | — | Medium
A008 | BAS analytics (FDD) | 140000 | 420000 | 5000 | 110 | 2.1 | 35 | — | High
A011 | Solar carport (500 kW) | 900000 | 700000 | 0 | 300 | 6.8 | 14 | — | Medium
A013 | Window film | 90000 | 210000 | 2000 | 60 | 2 | 38 | — | High
A014 | Heat recovery ventilation | 260000 | 360000 | 4000 | 120 | 3.2 | 24 | — | Medium
A016 | Smart irrigation | 60000 | 0 | 0 | 0 | 2.5 | 28 | — | High
A017 | Variable primary pumping | 200000 | 480000 | 6000 | 140 | 2.6 | 32 | — | High
A019 | Green lease improvements | 50000 | 90000 | 0 | 30 | 2.1 | 34 | — | High

## Disclosure_Calendar
Framework | Entity | Due Date | Status | Evidence Link | Auto-Flag
GRESB Real Estate | RE-US-001 | 2025-06-30 | In progress | Upload plan | OK
ENERGY STAR Cert | A001 | 2025-09-30 | Not started | PM app | ⚠ Complete
CDP Climate | RE-US-001 | 2025-07-31 | Submitted | CDP portal | ⚠ Update
Annual ESG Report | RE-US-001 | 2026-03-31 | Planned | Drive link | 🔴 Overdue
LEED O+M Submission | A003 | 2025-11-15 | In progress | LEED Online | ⚠ Draft
WELL Precert | A004 | 2026-01-31 | Planned | IWBI Portal | ⚠ Complete
IAQ Annual Report | Portfolio | 2025-12-15 | Planned | PDF link | ⚠ Update
BPS Attestation | A003 | 2026-03-01 | Planned | City portal | ⚠ Draft
BPS Attestation | A004 | 2026-03-01 | Planned | City portal | OK
BPS Attestation | A018 | 2026-03-01 | Planned | City portal | ⚠ Complete
Green Bond Report | RE-US-001 | 2025-12-31 | Planned | PDF link | ⚠ Update
TCFD/ISSB Report | RE-US-001 | 2026-04-30 | Planned | PDF link | 🔴 Overdue
Water Stewardship | Portfolio | 2025-10-31 | In progress | PDF link | ⚠ Draft
Waste Program Audit | Portfolio | 2025-09-15 | In progress | Audit file | ⚠ Complete
Supplier ESG Update | Portfolio | 2025-08-31 | In progress | Sheet link | ⚠ Update
Tenant Green Guide | Portfolio | 2025-10-01 | Planned | PDF link | ⚠ Draft
Retro-Cx Results | A006 | 2026-02-28 | Planned | Report link | OK
PV Commissioning | A010 | 2026-06-30 | Planned | Report link | ⚠ Complete
Energy Audit ASHRAE 2 | A015 | 2025-12-01 | In progress | Report link | ⚠ Update
SEC Voluntary ESG | RE-US-001 | 2026-03-15 | Planned | PDF link | ⚠ Draft

## Supplier_Screening
Vendor | Category | Annual Spend (USD) | ESG Policy On File? | GHG Reporting? | Labor/H&S Clauses? | Score /100 | Action
UtilityCo East | Energy | 7100000 | Yes | Yes | Yes | 86 | Preferred
ABC Janitorial | Services | 540000 | Partial | No | Yes | 58 | Improve policy
WasteHaul Inc. | Waste | 880000 | Yes | Partial | Yes | 71 | OK
CleanAir Filters | Supplies | 210000 | Yes | No | Yes | 74 | OK
GreenSpark Solar | Renewables | 1200000 | Yes | Yes | Yes | 88 | Preferred
CoolTech HVAC | Contractor | 650000 | Partial | No | Yes | 64 | Improve clauses
DataMeter IO | IoT | 320000 | Yes | Yes | Yes | 82 | Preferred
City Water Co. | Utilities | 2300000 | Yes | Yes | Yes | 80 | OK
Metro Gas | Utilities | 1900000 | Yes | Yes | Yes | 79 | OK
ReUse Office | Furniture | 160000 | Partial | No | Yes | 61 | Improve policy
GreenClean | Chemicals | 120000 | Yes | No | Yes | 68 | OK
SafeLift | Elevators | 450000 | Partial | No | Yes | 62 | Improve clauses
TerraCycle Pro | Recycling | 300000 | Yes | Partial | Yes | 76 | OK
SecureIT | Security | 280000 | Yes | No | Yes | 70 | OK
BrightLED | Lighting | 400000 | Yes | Yes | Yes | 85 | Preferred
SkyTune Controls | BMS | 520000 | Yes | Yes | Yes | 83 | Preferred
BlueWave Landscaping | Services | 210000 | Partial | No | Yes | 60 | Improve policy
RapidTest Labs | IAQ | 140000 | Yes | No | Yes | 72 | OK
EcoLease Advisors | Legal | 180000 | Yes | No | Yes | 75 | OK
FleetZero | Transport | 220000 | Partial | Partial | Yes | 66 | Improve reporting

## Audit_Log
Record ID | Asset/Portfolio | Evidence Type | File/Link | Period | Verified By | Date
EV-001 | A001 | ENERGY STAR App (PE/RA) | Doc link | CY-2024 | PE | 2025-05-04
EV-002 | Portfolio | GRESB Spreadsheet | Doc link | 2025 | ESG Lead | 2025-06-10
EV-003 | A003 | Energy Audit (ASHRAE 2) | Report link | 2024 | Eng Lead | 2025-01-20
EV-004 | A006 | Retro-Cx Report | Report link | 2025 | Cx Agent | 2025-03-12
EV-005 | A010 | PV Commissioning | Report link | 2025 | EE | 2025-06-28
EV-006 | A004 | IAQ Quarterly | CSV link | 2025-Q2 | IAQ Tech | 2025-07-05
EV-007 | A012 | Waste Audit | PDF link | 2024 | Ops | 2025-02-18
EV-008 | Portfolio | Renewable Contracts | PPA/REC link | 2025 | Legal | 2025-04-02
EV-009 | A015 | Audit Findings Closeout | Memo link | 2025 | Eng | 2025-05-30
EV-010 | A018 | Boiler Optimization M&V | M&V link | 2025 | Eng | 2025-06-22
EV-011 | A002 | Water Fixture Receipts | Folder link | 2025 | PM | 2025-06-01
EV-012 | A017 | BAS Analytics Setup | Screenshot | 2025 | Eng | 2025-05-10
EV-013 | A020 | Heat Pump Design | Spec link | 2025 | Mech | 2025-06-18
EV-014 | A005 | DCV Commissioning | Report link | 2025 | Cx Agent | 2025-07-01
EV-015 | A008 | Submetering Plan | Drawing link | 2025 | Eng | 2025-03-29
EV-016 | Portfolio | ESG Policy | PDF link | 2025 | Corp Sec | 2025-02-14
EV-017 | Portfolio | Data Assurance Letter | Auditor link | 2025 | Finance | 2025-06-30
EV-018 | A019 | Green Lease Addendum | Doc link | 2025 | Legal | 2025-04-27
EV-019 | A013 | Window Film Specs | Doc link | 2025 | Eng | 2025-05-19
EV-020 | A011 | Solar Carport RFP | Doc link | 2025 | Procure | 2025-06-07

## Executive_Scorecard
KPI | Portfolio 2024 | Target | Status
Avg ENERGY STAR Score (eligible assets) | 77 | 78 | ▲ improving
Weighted EUI (kBtu/ft²) | 60.8 | 56 | ▼ needs work
Scope 1+2 Intensity (kgCO₂e/ft²) | 12.8 | 10 | ▼update
Water Intensity (gal/ft²) | 29.6 | 26 | ▼draft
Waste Diversion | 60% | 70% | ▲ pipeline
Certifications (count) | 6 | 10 | ▲ pipeline
Assets ≥75 ENERGY STAR | 12 | 14 | ▲ scheduled
Assets at BPS Risk | 4 | ≤2 | ▼ mitigate
Onsite/Offsite Renewable % | 18% | 25% | ▲ planned PPAs
Retro-Cx Completed (count) | 5 | 8 | ▲ scheduled
IAQ Compliance Rate | 92% | 95% | ▼update
Green Lease Coverage | 35% GLA | 50% GLA | ▼update
AMR/Submeter Coverage | 62% | 80% | ▲ rollout
BAS Analytics Coverage | 55% | 85% | ▲ program
Leak Detection Coverage | 70% | 100% | ▼ mitigate
Organics Program Coverage | 60% | 90% | ▲ planned PPAs
ESG Supplier Compliance | 74/100 | ≥80 | ▲ improving
CAPEX Deployed to ECMs | $3.6M | $8.0M | ▼ needs work
Fines Avoided (est.) | $420k | — | ▼update
Tenant Satisfaction (ESG Qs) | 4.3/5 | 4.5/5 | ▼draft